## CTH M - HIllview Dr.
Address | Tier | Yr. Bld | POE or POU TRT? | Cold Faucet | Bld Type | Utility-Serv Line | Cust-Serv Line | Bld Plumb | Bld Plumb2 | Faucet/Location Comments
N1678 CTH M |  | 1967 | N | K | SF | C | C | CLS |  | Kitchen Cold
N1704 CTH M | [5 empty] | C | C | CLS |  | Town Park (Lion's Club)
N1685 CTH M |  | 1975 | POE-Y |  | SF | C | P-1" | CLS
N1699 CTH M |  | 1977 | POE-Y |  | SF | C | P-1" | CLS
N1705 CTH M | PBCU. Tier 3 | 1989 | POU-N | K | SF | C | C | C |  | Kitchen cold - not treated
N1751 CTH M |  | 2000 | N |  | O | C-2" | C |  |  | New St. Joe Equipment
N1959 Hillview Dr. |  | 1972 | POE-Y |  | SF | P | P-1" | CLS
N1956 Hillview Dr. |  | 1988 | POE-Y |  | SF | P | P-1" | C

## Birch & Tyler Lanes
Address | Tier | Yr. Bld | POE or POU TRT? | Cold Faucet | Bld Type | Utility-Serv Line | Cust-Serv Line | Bld Plumb | Bld Plumb2 | Faucet/Location Comments
W2809 Birch Lane |  | 1978 | POE - Y |  | SF | C 3/4" | C 3/4" | CLS
W2805 Birch Lane |  | 1979 | POE - Y |  | SF | C 3/4" | C 3/4" | CLS
W2799 Birch Lane |  | 1978 | N |  | SF | C 3/4" | C 3/4" | CLS
W2791 Birch Lane |  | 1979 | POE-Y |  | SF | C 3/4" | C 3/4" | CLS
W2785 Birch Lane |  | 1979 | POE - Y |  | SF | C 3/4" | C 3/4" | CLS
W2775 Birch Lane |  | 1977 | N |  | SF | C 3/4" | C 3/4" | CLS
W2767 Birch Lane |  | 1977 | POE - Y |  | SF | C 3/4" | C 3/4" | CLS
W2761 Birch Lane |  | 1976 | POE - Y |  | SF | C 3/4" | C 3/4" | CLS
W2753 Birch Lane |  | 1978 | N | K | SF | C 3/4" | C | CLS
W2747 Birch Lane |  | 1977 | N |  | SF | C 3/4" | C | CLS
W2739 Birch Lane |  | 1978 | POE - Y |  | SF | C 3/4" | C | CLS
W2725 Birch Lane |  | 1979 | N |  | SF | C 3/4" | C | CLS
W2766 Birch Lane |  | 1979 | POE-Y |  | SF | P 1" | P 1" | CLS |  | 2" Service Main off of 6" Plastic
W 2671 Birch Lane |  | 1979 | POE-Y |  | SF | P 1" | P 1" | CLS |  | 2" Service Main off of 6" Plastic
W2788 Birch Lane |  | 1978 | N |  | SF | C 3/4" | C 3/4" | CLS
W2772 Birch Lane |  | 1976 | N |  | SF | C 3/4" | C | CLS
W2768 Birch Lane |  | 1976 | N |  | SF | C 3/4" | C | CLS
W2758 Birch Lane |  | 1979 | N |  | SF | C 3/4" | C 3/4" | CLS
N1796 Tyler Lane |  | 1978 | POE - Y |  | SF | C 3/4" | C | CLS
N1816 Tyler Lane |  | 1978 | POE - Y |  | SF | C 3/4" | C 3/4" | CLS
N1822 Tyler Lane | PBCU - Tier 3 | 1973 | POU-N | K | SF | C 3/4" | C 3/4" | CLS |  | Cold Water - Kitchen
N1828 Tyler Lane |  | 1977 | POE - Y |  | SF | C 3/4" | C 3/4" | CLS
N1829 Tyler Lane |  | 1998 | POE - Y |  | SF | C 3/4" | P - 1" | CLS

## STH 33
Address | Tier | Yr. Bld | POE or POU TRT? | Cold Faucet | Bld Type | Utility-Serv Line | Cust-Serv Line | Bld Plumb | Bld Plumb2 | Faucet/Location Comments
W2898 STH 33 |  | 2003 | POE - Y |  | SF | C - 2" | P-1" | C
W2842 STH 33 |  | 2008 | POE - Y |  | SF | C - 2" | P - 1" | C
W2786 STH 33 |  | 1996 | N |  | O | C - 1" | C - 1" | C |  | Construction Co.
W2782 STH 33 |  | 1976 | POE - Y |  | O | C - 1" | C - 1" | C |  | Restaurant
W2776 STH 33 |  | 1957 | No |  | SF | C - 1" | C - 3/4" | P
W2768 STH 33 |  | 2000 |  |  | SF | C - 1" | C - 1" | CLS
W2760 STH 33 |  | 1972 | NO |  | SF | C - 1" | C - 1" | CLS
W2750 STH 33 |  | 1984 |  |  | SF | C - 1" | C - 1" | CLS
W2740 STH 33 |  | 2006 | No |  | MF | C - 1" | C - 1" | C |  | Rental
W2736 STH 33 |  | 1982 | No |  | MF | C - 2" | C - 1" | CLS |  | Rental
W2720 STH 33 |  | 1952 | POE - Y |  | SF | C - 1" | G - 3/4" | CLS
W2712 STH 33 |  | 1950 | No |  | SF | C - 1" | C - 1" | CLS
W2706 STH 33 |  | 1969 | POE - Y |  | SF | C - 1" | C - 1" | CLS
W2698 STH 33 |  | 1943 | No |  | SF | C - 1" | C - | CLS
W2688 STH 33 |  | 1920+ | No |  | SF | C - 1" | C - 3/4" | CLS
W2674 STH 33 |  | 1990 | POE - Y |  | SF | C - 1" | C - 1" | C
W2670 STH 33 |  | 1940 | No |  | MF | C - 1" | C | CLS |  | Building Built 1800s
W2668 STH 33 |  | 1940 | No |  | MF | C - 1" | C | CLS |  | Building Built 1800s
W2658 STH 33 |  | 1880-1964 | POE - Y |  | O | 8" | C | CLS |  | FSPA Retirement Home
W2658 STH 33 |  | 1990 | N |  | O | 8:00 | P - 2" |  |  | Retreats
W2584 STH 33 |  | 1948 | N |  | SF | C - 1" | C - 3/4" | CLS
W2580 STH 33 |  | 1976 | POE - Y |  | SF | C - 1" | C - 1" | CLS
W2721 STH 33 |  | 1960 | No |  | O | C - 1" | P - 1" | CLS
W2715 StH 33 |  |  | No |  | O | C - 1" | C | CLS |  | County Garage
W2703 STH 33 |  | 1999 | No |  | O | C - 1" | C - 1" | CLS |  | Bank
W2693 STH 33 |  | 1955 | No |  | SF | C - 1" | C - 1" | G | CLS
W2683 STH 33 |  | 1957 | No |  | SF | C - 1" | C - 1"
W2679 STH 33 |  | 1956 | POE - Y |  | SF | C - 1" | C - 1" | CLS
W2673 STH 33 |  | 1957 | POE - Y |  | SF | C - 1" | C - 1" | P | CLS
W2669 STH 33 |  | 1940 | POE - Y |  | SF | C - 1" | C - 1" | CLS |  | Private Well not tied into municiple water . Removed and filled in well 2021
W2663 STH 33 |  | 1979 | POE - Y |  | SF | C - 1" | C - 1" | CLS
W2661 STH 33 |  | 1982 | POE - Y |  | SF | C - 1" | C - 1" | CLS
W2657 STH 33 |  | 1978 | POE - Y |  | SF | C - 1" | P - 1" | CLS |  | Curb Stop Location?
W2649 STH 33 |  | 1956 | POE - Y |  | SF | C - 1" | P - 1" | CLS
W2645 STH 33 |  | 1977 | POE - N |  | SF | C - 1" | C - 3/4" | CLS
W2637 STH 33 |  | 1964 | POE - Y |  | O | C - 1" | C - 1" | CLS |  | Daycare
W2633 STH 33 |  | 2019 | POE - Y |  | MF | P - 1 1/2" | P - 1 1/2" | C |  | Rental new in 2019
W2607 STH 33 |  | 1929 | N |  | O | C - 1" | C - 1" | CLS
N1800 Town Hall Rd. |  | 2009 | N |  | O | C - 2" | C - 2" | C |  | Town Hall & shop - Fire Station

## Sherry Lane
Address | Tier | Yr. Bld | POE or POU TRT? | Cold Faucet | Bld Type | Utility-Serv Line | Cust-Serv Line | Bld Plumb | Bld Plumb2 | Faucet/Location Comments
W2733 Sherry Lane |  | 1958 | POE - Y |  | SF | C - 3/4" | C - 3/4" | CLS
W2737 Sherry Lane |  | 1968 | POE - Y |  | SF | P - 1" | P - 1" | CLS |  | New utility side & cstomer side 2019 from North side of 33
W2747 Sherry Lane |  | 1971 | POE - Y |  | SF | P - 1" | P - 1" | CLS
W2753 Sherry Lane |  | 1978 | POE - Y |  | SF | P - 1" | P - 1" | CLS
W2761 Sherry Lane |  | 1976 | POE - Y |  | SF | P - 1" | P - 1" | CLS
W2769 Sherry Lane |  | 1985 | POE - Y |  | SF | P - 1" | P - 1" | CLS
W2775 Sherry Lane |  | 1976 | No |  | O | P - 1 1/2" | P - 1 1/2" | CLS |  | Apartment Building
W2795 Sherry Lane |  | 1962 | No |  | O | C - 1" | P - 1" | CLS |  | Business Equip. Ag. - New Service Line 2019
SE Corner by Power Pole

## Schams Ave.
Address | Tier | Yr. Bld | POE or POU TRT? | Cold Faucet | Bld Type | Utility-Serv Line | Cust-Serv Line | Bld Plumb | Bld Plumb2 | Faucet/Location Comments
W2786 Schams Ave. |  | 1959 | POE- Y |  | SF | C-3/4" | P - 3/4" | CLS |  | Curb Stop N W Corner Lot
W2776 Schams Ave. |  | 1967 | POE- Y |  | SF | C - 1" | P - 1" | CLS |  | Customer Service New 2019
W2768 Schams Ave. |  | 1964 | POE- Y |  | SF | C - 1" | P - 1" | CLS |  | Customer Service New 2019
W2764 Schams Ave. |  | 1964 | POE- Y |  | SF | C - 1" | C - 1" | CLS
W2758 Schams Ave. |  | 1962 | POE- Y |  | SF | C - 1" | C - 1" | CLS
W2752 Schams Ave. |  | 1965 | N |  | SF | C - 1" | P - 1" | CLS |  | Customer Service New 2019
W2744 Schams Ave. |  | 1964 | N |  | SF | C | P | CLS | P | Customer Service New 2019
W2732 Schams Ave. |  | 1974 | POE- Y |  | SF | C - 3/4" | C - 3/4" | CLS
W2718 Schams Ave. |  | 1960 | POE- Y |  | SF | C - 3/4" | C - 3/4" | CLS
W2706 Schams Ave. |  | 1999 | POE- Y |  | SF | C - 3/4" | C - 3/4" | C
W2655 Schams Ave. |  | 2005 | POE- Y |  | O-SF | C - 1" | C - 1" | C |  | Zero Property - Condo
W2661 Schams Ave. |  | 2005 | POE- Y |  | O-SF | C - 1" | C - 1" | C |  | Zero Property - Condo

## Park St.
Address | Tier | Yr. Bld | POE or POU TRT? | Cold Faucet | Bld Type | Utility-Serv Line | Cust-Serv Line | Bld Plumb | Bld Plumb2 | Faucet/Location Comments
N1724 Park St. |  | 1971 | POE - Y |  | SF | C - 3/4" | C - 3/4" | CLS
N1718 Park St. |  | 1964 | N |  | SF | C - 3/4" | P - 3/4" | CLS
N1712 Park St. |  | 1970 | N |  | SF | C - 3/4" | C - 3/4" | CLS
N1704 Park St. |  | 1970 | N |  | SF | C - 3/4" | C - 3/4" | CLS

## Ridgeview Dr.
Address | Tier | Yr. Bld | POE or POU TRT? | Cold Faucet | Bld Type | Utility-Serv Line | Cust-Serv Line | Bld Plumb | Bld Plumb2 | Faucet/Location Comments
N1758 Ridgeview Dr. |  | 1954 | POE - Y |  | SF | C - 3/4" | C - 3/4" | CLS
N1752 Ridgeview Dr. |  | 1954 | POE - Y |  | SF | C - 1" | P - 1" | CLS |  | New Utility & Customer Service Line 2016
N1744 Ridgeview Dr. |  | 1958 | POE - Y |  | SF | C - 1" | C - 1" | CLS
N1728 Ridgeview Dr. |  | 1962 | POE - Y |  | SF | C - 1" | C - 1" | CLS
N1722 Ridgeview Dr. |  | 1959 | POE - Y |  | SF | C - 1" | C | CLS
N1716 Ridgeview Dr. |  | 1964 | POE - Y |  | SF | C | C | CLS
N1710 Ridgeview Dr. |  | 1956 | POE - Y |  | SF | C | C | CLS
N1745 Ridgeview Dr. |  | 1960 | POE - Y |  | SF | C - 3/4" | C - 3/4" | CLS
N1727 Ridgeview Dr. |  | 1962 | POE - Y |  | SF | C - 3/4" | C - 3/4" | CLS
N1721 Ridgeview Dr. |  | 1960 | POE - Y | K | SF | C | C | CLS |  | Kitchen cold - not treated
N1715 Ridgeview Dr. |  | 1956 | POE - Y |  | SF | C - 3/4" | C - 3/4" | CLS |  | Customer Service New 2019

## Sunnyslope
Address | Tier | Yr. Bld | POE or POU TRT? | Cold Faucet | Bld Type | Utility-Serv Line | Cust-Serv Line | Bld Plumb | Bld Plumb2 | Faucet/Location Comments
N1684 Sunnyslope |  | 2014 | POE - Y |  | SF | P - 2" | P - 1" | C
N1703 Sunnyslope |  | 2004 | POE - Y |  | SF | C- 1" | C - 1" | C
N1728 Sunnyslope |  | 2003 | POE - Y |  | SF | C - 1" | C - 1" | C
N1716 Sunnyslope |  | 2003 | POE - Y |  | SF | C - 1" | C - 1" | C
N1708 Sunnyslope |  | 2003 | POE - Y |  | SF | C - 1" | C - 1" | C
N1700 Sunnyslope |  | 2002 | POE - Y |  | SF | C - 1" | C - 1" | C

## Elizabeth Way
Address | Tier | Yr. Bld | POE or POU TRT? | Cold Faucet | Bld Type | Utility-Serv Line | Cust-Serv Line | Bld Plumb | Bld Plumb2 | Faucet/Location Comments
N1719 Elizabeth Way |  | 2004 | POE - Y |  | SF | C - 1" | C - 1" | C
N1706 Elizabeth Way |  | 2005 | POE - Y |  | SF | C - 1" | C - 1" | C
N1714 Elizabeth Way |  | 2002 | POE - Y |  | SF | C - 1" | C - 1" | C
N1724 Elizabeth Way |  | 2004 | POE - Y |  | SF | C - 1" | C - 1" | C
N1730 Elizabeth Way |  | 2003 | POE - Y |  | SF | C - 1" | C - 1" | C
N1736 Elizabeth Way |  | 2003 | POE - Y |  | SF | C - 1" | C - 1" | C
N1746 Elizabeth Way |  | 2002 | POE - Y |  | SF | C - 1" | C - 1" | C
N1754 Elizabeth Way |  | 2002 | POE - Y |  | SF | C - 1" | C | C
N1765 Elizabeth Way |  | 2002 | No |  | SF | C - 1" | C - 1" | C
N1759 Elizabeth Way |  | 2004 | POE - Y |  | SF | C - 1" | C | C
N1751 Elizabeth Way |  | 2004 | POE - Y |  | SF | C - 1" | C | C
N1745 Elizabeth Way |  | 2004 | NO |  | SF | C - 1" | C | C

## Hess Rd.
Address | Tier | Yr. Bld | POE or POU TRT? | Cold Faucet | Bld Type | Utility-Serv Line | Cust-Serv Line | Bld Plumb | Bld Plumb2 | Faucet/Location Comments
N1757 Hess Rd. |  | 1953 | POE - Y |  | SF | C - 3/4" | C - 3/4" | CLS | P
N1753 Hess Rd. |  | 1961 | NO |  | SF | C - 1" | C - 1" | CLS
N1727 Hess Rd. |  | 1968 | POE - Y |  | SF | C - 3/4" | P - 3/4" | CLS
N1723 Hess Rd. |  | 1976 | NO |  | SF | C - 3/4" | C - 3/4" | CLS
N1715 Hess Rd. | PBCU | 1982 | POU-N | K | SF | C - 3/4" | C | CLS
N1709 Hess Rd. |  | 1965 | POE - Y |  | SF | C - 3/4" | C - 3/4" | CLS
N1776 Hess Rd. |  |  | NO |  | O | C - 1" | C - 3/4" | CLS |  | Construction - Old Town Shop
N1772 Hess Rd. |  | 1947 |  |  | SF | C | P - 3/4" | CLS |  | Rental
N1726 Hess Rd. |  | 2003 | POE - Y |  | SF | C - 1" | C - 1" | C
N1720 Hess Rd. |  | 2004 | POE - Y |  | SF | C - 1" | C - 1" | C
N1712 Hess Rd. |  | 2004 | POE - Y |  | SF | C - 1" | C - 1" | C

## Clarence Ct.
Address | Tier | Yr. Bld | POE or POU TRT? | Cold Faucet | Bld Type | Utility-Serv Line | Cust-Serv Line | Bld Plumb | Bld Plumb2 | Faucet/Location Comments
W2683 Clarence Ct. |  | 2009 | POE - Y |  | O - SF | C - 1" | C | C |  | Zero Property - Condo
W2681 Clarence Ct. |  | 2009 | POE - Y |  | O - SF | C - 1" | C | C |  | Zero Property - Condo
W2673 Clarence Ct. |  | 2019 | POE - Y |  | SF | C - 1" | P - 1" | P
W2669 Clarence Ct. |  | 2012 | POE - Y |  | O - SF | C - 1" | C - 1" | C |  | Zero Property Line Condo
W2665 Clarence Ct. |  | 2012 | POE - Y |  | O - SF | C - 1" | C - 1" | C |  | Zero Property Line Condo
W2668 Clarence Ct. |  | 2016 | NO |  | SF | C - 1" | P - 1" | P
W2676 Clarence Ct. |  | 2019 | NO |  | SF | C - 1" | P - 1" | P
W2684 Clarence Ct. |  | 2019 | POE - Y |  | SF | C - 1" | P - 1" | P

## Servais Colleran
Address | Tier | Yr. Bld | POE or POU TRT? | Cold Faucet | Bld Type | Utility-Serv Line | Cust-Serv Line | Bld Plumb | Bld Plumb2 | Faucet/Location Comments
N1689 Servais Colleran |  | 1958 | NO |  | SF | C - 1" | C - 1" | CLS |  | Rental
N1673 Servais Colleran |  | 1995 | POE - Y |  | SF | C - 1" | C - 1" | C
N1665 Servais Colleran |  | 1998 | POE - Y |  | SF | C - 1" | C - 1" | C
N1657 Servais Colleran |  | 2002 | POE - Y |  | SF | C - 1" | C - 1" | C
N1649 Servais Colleran |  | 2000 | POE - Y |  | SF | C - 1" | C - 1" | C
N1641 Servais Colleran |  | 1998 | POE - Y |  | SF | C - 1" | C - 1" | C
N1633 Servais Colleran |  | 1997 | POE - Y |  | SF | C - 1" | C - 1" | C
N1625 Servais Colleran |  | 1998 | POE - Y |  | SF | C - 1" | P - 1" | C
N1617 Servais Colleran |  | 1997 | POE - Y |  | SF | C - 1" | C - 1" | C
N1609 Servais Colleran |  | 1996 | POE - Y |  | SF | C - 1" | C - 1" | C
N1612 Servais Colleran |  | 1998 | POE - Y |  | SF | C - 1" | P - 1" | C
N1620 Servais Colleran |  | 1999 | POE - Y |  | SF | C - 1" | P - 1" | P
N1628 Servais Colleran |  | 1998 | POE - Y |  | SF | C - 1" | C - 1" | C
N1636 Servais Colleran |  | 1999 | POE - Y |  | SF | C - 1" |  | C
N1644 Servais Colleran |  | 1997 | POE - Y |  | SF | C - 1" | P - 1" | C
N1652 Servais Colleran |  | 1998 | POE - Y |  | SF | C - 1" | C - 1" | C
N1660 Servais Colleran |  | 2000 | POE - Y |  | SF | C - 1" | C | C
N1668 Servais Colleran |  | 1996 | POE - Y |  | SF | C - 1" | C | C
N1676 Servais Colleran |  | 1999 | POE - Y |  | SF | C - 1" | C | C
N1684 Servais Colleran |  | 1997 | POE - Y |  | SF | C - 1" | P - 1" | C
N1690 Servais Colleran |  | 1998 | POE - Y |  | SF | C - 1" | C | C
N1698 Servais Colleran |  | 2008 | POE - Y |  | SF | C - 1" | C | C